## Slide 1
Metrologia 2019
2019-11-26
Th. Wiedenhöfer, D. Hutzschenreuter, F. Härtig
(with support from all around the world)
contact: smartcom@ptb.de
Exchange of metrological data for the use in machine to machine communication for industry 4.0
“Communication and validation of smart data in IoT-networks”

## Slide 2: Short CV Thomas Wiedenhoefer PTB, Germany
Studied production engineering at University Erlangen-Nuremberg, Germany Focus: Manufacturing metrology, quality management, production automatisation Working student at Siemens research centre in Erlangen; department Corporate Technology „Software and Engineering“ (CT SE 5) | 
University Erlangen-Nbg., Chair quality management + manufacturing metrol. Head of research group optical and micro-/nano-metrology | 
Werth Messtechnik GmbH, Germany Director for R&D cooperations Part time lecturer at University of Applied Sciences Schmalkalden | 
Physikalisch-Technische Bundesanstalt (PTB), Germany, since 2015 Management and support of strategic projects in Div. 1 „Mechanics and Acoustics“ Coordination of EURAMET project SmartCom “Communication and validation of smart data in IoT-networks” as of June 2018. since June 2019: Member of presidential staff supporting European projects and senior specialist for work, health and safety | 

## Slide 3: A closer look at the (sub-)title
Communication and validation of smart data in IoT-networks
Smart-Sensor
Smart-Home/Ind. 4.0
Smart-City
validation Server
enhanced digital information formatted for
further/advanced data consolidation & analytics
unambiguous, universal
safe (cryptographic secured)
long term (machine)readable/interpretable
Smart world?
in this talk focusing on communication of metrological information

## Slide 4: Motivation: Some big issues of the past
Mars Climate Orbiter1 1999 mix up of metric and imperial units destroyed at landing approach (125 Mio US$)
1NASA; Mars Climate Orbiter Mishap Investigation Board Phase I Report. ftp://ftp.hq.nasa.gov/pub/pao/reports/1999/MCO_report.pdf; Zugriff April 2016 2https://www.newscientist.com/article/dn17350-nasa-criticised-for-sticking-to-imperial-units/; Zugriff April 2016
3 https://en.wikipedia.org/wiki/Gimli_Glider; Zugriff April 2016
Quelle NASA
2005 NASA-“Constellation-Program“ [landing on the moon] rejected! harmonisation of units would cost 370 Millionen US$2.
Quelle NASA
1983 Air Canada Flight 143 „Gimli-Glider”:3
Fuelling crew mixed up pound/litre and kg/litre
for calculation => tanks less than half filled.
Quelle Wikipedia

## Slide 5: on my flight to Florianopolis
Imperial
metric
How many children?
8
2
uncertainty?

## Slide 6: EMPIR-project SmartCom
Communication and validation of smart data in IoT-networks
GUM
VIM
…

## Slide 7
Software allows seemingly everything ...
However, what we need to avoid in automated (machine to machine) communication
Units such as: Inch, Gallon, Feet, Miles, …
Characters such as: ÄÖÜ, , , , ……
Numeral systems such as: binary, hexadecimal, ...
Numerical digits such as: Roman numerals (MMMCLXXXIIIV), …
… but some countries will introduce or maintain their own variants.
Braunschweiger Ell ,…
What we do not want
Economic disaster: complexity rise in the order of n*(n-1)/2
(N: number of redundant information e.g. mm to inch: n=2)
… even if there is a increasing risk of diversity and missunderstanding.
Notes: Characters: ÄÖÜ, arabisch: Meter, chinesisch: Meter; russisch: Meter

## Slide 8: What does my introduction has to do with this presentation?
?
App
German intro
Portuguese
intro
something considered by me to be a correct Portuguese intro
!
German intro
English intro
with agreed vocabulary
validation
?
rules
authentication
!
+ integrity (information has not been changed -> cryptography)
We all have to learn German!

## Slide 9: SmartCom: key objectives
GUM
VIM
…
Dig. Calib.
Certificate
Dig. Calib.
Certificate
Digital System of Units (D-SI)
  SI based data model for digital communication of metrological data
  considers uncertainty of measured quantities
  SI units of BIPM SI brochure & non-SI units
Digital Calibration Certificate (DCC)
  minimum requirements
  structure (administrative and measurement data)
  relevant standards like ISO 17025
  secure transfer, cryptography, withdrawal

## Slide 10: SmartCom: Content
Validation
DCC
D-SI
GUM
VIM
…

## Slide 11: SmartCom: Challenges
Consensus:
  uniform structure/hierarchy
  uniform exchange format (XML)
Technical solutions:
  cryptographic signatures/seals
  data security, encryption
  authentication (identification of interaction)
Legal requirements:
  legal validity/ documentation of validity period
  Withdrawal of calibration certificates
Transfer of
“NMI specification”
to end users & standardization
Fundamental NMI specification in SmartCom

## Slide 12: Already existing and on the way
eCl@ass
VDI/VDE 2623
MII / FLUKE
Allotrope
Foundation
OPC-UA
GemiMeG
European Metrology Cloud
…
Common Data Dictionary
UN/ECE
Ontology for RDM@ PTB
Euramet TC-IM 1448
siunitx
VIM
GUM
…
NIST/OASIS
…
SI-syntax
2623 + calibration data
identifier, data format
Units, dimensions, types
identifier, classes
Ontologie, IEC/TS 62720
Ontologie
codes for units for trade
internat. projects
and cooperations
machinereadable
data exchange
interfaces

## Slide 13: Production Cycle
Calibration
1
start of
calibration
2
measure-
ment
3
data analysis
4
report
6
QM
7
production
8
Optimi-
sation
€
5
Industry 4.0;
Digital Twin
10
T
ransfer
9
time for re-
calibration
Industry

## Slide 14: Results of DCC-2019 workshop
Production-Cycle

## Slide 15: DCC workshop for industry 3./4. June 2019
„sound regulation“
snippets of dialogues
fear: „external will
program my machine!!!“
„useable with excel“
„economically efficient“
„efficient“
„automated“
„standards needed“
„Data find- and read- and understandable for machines“
„based on 17025“

## Slide 16: BMWi/PTB-Workshop 10.April 2018
Metrology as basis for digitalisation.
Notes: Unterste Stufe: Millionen von Messungen
Die Kalibrierpyramide macht die große wirtschaftliche Bedeutung sehr deutlich.
 Ein Digitaler Kalibrierschein mit Mehrwert verspricht hohe Gewinne.

## Slide 17
Live feedback from industry and calibration labs

## Slide 18: SmartCom: D-SI
Validation
DCC
D-SI
GUM
VIM
…

## Slide 19: Success story: international units
1799, french parliament layed the foundation for unity in metrology
Success story: - Reduction of trade barriers - Increase in security - Growth in economy
World wide uniform communication
Notes: have not adopted the International System of Units (SI, or metric system) as their official system of weights and measures

## Slide 20: Metrological data exchange
User Interface
metre, °C, bar
decimal
Ä, Ö, Ü,
User Interface
feet, °F, Pa
binary
unambiguous,
efficient,
easy to understand,
exchangeable
machine interface
JSON
XML
…
SI only
but this is o. k. as it is only the user interface

## Slide 21: Digtal System of units D-SI
SI brochure
VIM
GUM
CODATA
universal
data model
vision: no (measurement) result without a (SI) unit
siunitx syntax
IEC/TS 62720
IEEE 754
RFC 362 (UTF-8)
ISO 8601
ISO 80000
IEC 61360
…
D-SI
Data Model
Data model must be
unambiguous
universal
safe
uniform

## Slide 22: Digital SI – universal data model
Minimum requirement + additional information
universal
data model
SI Broschüre
VIM
GUM
CODATA
coverage factor
type of distribution (normal, uniform, … )
measurement uncertainty
& coverage interval
± U95(k) distribution UTC
Coordinated
Universal Time
vision: no (measurement) result without a (SI) unit!
Y = y [SI]
SI-unit
measurement value
Minimum requirement
+ container for non SI

## Slide 23: Data model for real quantities
similar structure for fundamental physical and mathematical constants

## Slide 24: SI units
Unit language for BIPM SI brochure
 \kilo\metre\hour\tothe{-1}
SI prefix
BIPM SI
unit
exponent
Start
End
optional
optional
multiplication
Has to be maintained. Today’s basis: 9th SI brochure

## Slide 25: Data model with additional information
Y = y [SI] U95(k) distribution UTC
uncertainty information encapsulated by the elements
„expandedUnc“
„coverageInterval“

## Slide 26: Non-SI: hybrid
Equivalent quantities
machine-readable SI quantity
non-SI quantity
To be used for all units not listed in the latest SI brochure

## Slide 27: CODATA - constants
Universal machine-readable CODATA constants on basis of
D-SI in addition to original CODATA listings
CODATA
2014
CODATA
2018

## Slide 28: Machine readable defining constants
https://www.ptb.de/si/codata/codata.xsd https://www.ptb.de/si/codata/CODATA_2014_SI_defining_constants.xml https://www.ptb.de/si/codata/CODATA_2018_SI_defining_constants.xml

## Slide 29: D-SI format development
univariate uncertainty
real quantity
Y=y±U (k=2)
coverage interval
num. value
& SI unit
Format must be
universal
easy & safe
uniform & unambiguous
Metrology Standards
IT Standards

## Slide 30: D-SI further development
multivariate uncertainty
univariate uncertainty
vector quantity
complex quantity
real quantity
Y=y±U (k=2)
coverage interval
num. value
& SI unit
cartesian or polar coordinate form
real & complex vectors, recursion
coverage region: ellipsoid
…
aim: data model

## Slide 31: GUM S2 requirements
Hyper-ellipsoidal region
Hyper-rectangular region
(covariance matrix)
(coverage probability)
(coverage factor / ellipsoid size scale factor)
(std. uncert.)
(coverage factor)
(coverage probability)
r
= center point
of ellipsoid

## Slide 32: Digital-SI
Universal, easy to understand, safe und unambiguous data model for the digital exchange of metrological data on the basis of the SI
https://tinyurl.com/smartcom-D1
https://tinyurl.com/smartcom-D1-short

## Slide 33: Support Interoperability
Indispensable many different formats
MC
DCC
One universal metadata model (D-SI)!

## Slide 34: SmartCom: DCC
Validation
DCC
D-SI
GUM
VIM
…

## Slide 35: Calibration in Germany
DAkkS
laboratories
traceability
Machine-readable, legally accepted und electronical signed certificate for a digital exchange of calibration data on the basis of the SI

## Slide 36: Digital Calibration Certificate (DCC)
international accepted & recognized
cryptographic signature
XML as exchange format
17025
CODATA
GUM
VIM
SI
standards & norms
2. Result of calibration
  regulated:
    conditions, methods, …
  not regulated:
    individual data
    …
3. Comments
  not regulated
4. analogue document
  human-readable
1. Administrative data
  regulated
tree structure

## Slide 37: DCC: universal requirements
…

## Slide 38: DCC: summary of universal requirements
…

## Slide 39: DCC: Framework conditions
Framework conditions for secure transfer
(long-term ) preservation of readability, integrity and authenticity
stable data format
digital signatures
Interoperability
preservation of controllability of data
understanding of risks and liabilities
compliance with security and privacy policies – key management
verification/ validation of data
withdrawal/revocation
… and many more …
Notes: *noch nicht fertig*

## Slide 40: Validity of digital certificates in Germany, the EU and the world
§§
Signature semantics
Registry
Withdrawal/revocation
Validity
Liabilities

## Slide 41
Stakeholder workshop, Nov. 2019

## Slide 42
Stakeholder workshop, Nov. 2019

## Slide 43
Stakeholder workshop, Nov. 2019

## Slide 44
Stakeholder workshop, Nov. 2019

## Slide 45: Stakeholder workshop, Nov. 2019

## Slide 46
Stakeholder workshop, Nov. 2019

## Slide 47
Stakeholder workshop, Nov. 2019

## Slide 48
Stakeholder workshop, Nov. 2019

## Slide 49
Stakeholder workshop, Nov. 2019

## Slide 50
Industrial needs - survey
your field of activity
greatest need for development/support
(Stakeholder workshop, Nov. 2019)

## Slide 51: SmartCom: Validation
Validation
DCC
D-SI
GUM
VIM
…

## Slide 52: TraCIM service
machine to machine
industry
NMIi
NMI1
metrology-
institutes
CALi
CAL1
calibration laboratories
Service users
Internet based test service
Service provider
TraCIM
Validation of algorithms, data/metadata, Digital Calibration Certificates
Traceable Computational Intensive Metrology
machine to machine
Consortium of National Metrology Institutes

## Slide 53: TraCIM network
users
request
UM
NPL
PTB
…
NMIs
NMI
TraCIM e.V.
machines + sensors
request
request
request
manufacturers
(fully automated)

## Slide 54: TraCIM e.V.
Consortium of National Metrology Institutes
Promoting scientific cooperation concerning traceability of mathematical algorithms for metrology
Accompany upcoming developments of new test in different metrological domains, e.g. length, electricity, chemistry …
Define unique quality standards for software tests
TraCIM e.V.

## Slide 55: TraCIM-based online validation

## Slide 57: SmartCom: Content
Validation
DCC
D-SI
GUM
VIM
…
security
aspects

## Slide 58
Authentication: Identity (of data origin) is known and verified.
Integrity: Data is not modified by unauthorized parties.
Confidentiality: Data is not disclosed to unauthorized parties.
Non-repudiation: The origin and integrity of data cannot be denied.
Availability: Data is accessible whenever needed.
Security aspects: some terms

## Slide 59: SmartCom Interim Meeting security aspects.pdf - Adobe Acrobat Reader DC

## Slide 60: SmartCom Interim Meeting security aspects.pdf - Adobe Acrobat Reader DC

## Slide 62: SmartCom Interim Meeting security aspects.pdf - Adobe Acrobat Reader DC

## Slide 63: SmartCom Interim Meeting security aspects.pdf - Adobe Acrobat Reader DC

## Slide 64
Notes: A certificate authority can issue multiple certificates in the form of a tree structure. A root certificate is the top-most certificate of the tree, the private key of which is used to "sign" other certificates. All certificates signed by the root certificate, with the "CA" field set to true, inherit the trustworthiness of the root certificate—a signature by a root certificate is somewhat analogous to "notarizing" identity in the physical world. Such a certificate is called an intermediate certificate or subordinate CA certificate. Certificates further down the tree also depend on the trustworthiness of the intermediates.

## Slide 65: SmartCom Interim Meeting security aspects.pdf - Adobe Acrobat Reader DC

## Slide 66: SmartCom: Content
Validation
DCC
D-SI
GUM
VIM
…
impact and
cooperations

## Slide 67: Documentation
WIKI
…

## Slide 68: Digitalization is global …
SmartCom
04/2018
03/2018
06/2018
11/2018
09/2019

## Slide 69: Worldwide relevance and cooperation

## Slide 70: Liaisons

## Slide 71: Aims of TC IM 1448: Development of digital calibration certificates
create DCC
use DCC
validate DCC
  Definition of minimum requirements for DCC regarding content and interfaces
  Development and publication of case studies, guidelines and software
  Organisation of workshops to provide a forum for the presentation and discussion of novel approaches
  Organisation of training courses, both, web-based and in person
  Active collaboration with all EURAMET TCs
  Active collaboration with the CIPM and its CCs

## Slide 72: Global opportunity
Transfer the successful International
System of Units into the
digitalised world
(October 2019)
Industry
Research
Society
NMIs &
Standar-disation
CIPM Task Group
Digital-SI
Driving Force
Distribution
Benefit

## Slide 73: be part of it
Getting in contact via E-Mail: smartcom@ptb.de
Register for the newsletter: https://www.ptb.de/empir2018/smartcom/project/
Be part of the stakeholder network: smartcom@ptb.de
Join the project as collaborator: smartcom@ptb.de
Visit our homepage https://www.ptb.de/empir2018/smartcom/home
International Workshop “Digital Calibration Certificate”
Where: PTB; Brunswick
When: Autumn 2020
Participants: NMI’s, AI’s, Companies, Calibration Lab’s, …

## Slide 74
You are invited – your needs do count
GUM
VIM
…
Thank you for your attention
Obrigado pela atenção
smartcom@ptb.de
Take part (short survey):
https://tinyurl.com/sosu2y5

## Slide 75
project
start June 2018
duration 3 Year
partners NPL, CMI, Aalto, UM, Unicas, NIM, ITRI, KRISS, Zeiss, Ostfalia, Hexagon, Mitutoyo, Sartorius, Mettler-Toledo.
Contact smartcom@ptb.de
GUM
VIM
…
Thank you for your attention
Obrigado pela atenção

## Slide 76
Stakeholder workshop, Nov. 2019

## Slide 77
Stakeholder workshop, Nov. 2019

## Slide 78: Applications & Connections
Virtual Metrology
Research data management
DCC PTB,
GEMIMEG
SmartCom provides the basis for all metrological communication
CODATA
data base
Standardization bodies
SI units
data security
glossary
data model

## Slide 79: Key Example: Met4FoF
This contains
calibration of sensors with digital, pre-
processed output
incorporation of quality information like
calibration data in industrial sensor networks
incorporation of data quality information in machine learning algorithms
Aim: A metrological framework for the evaluation of measurement uncertainties for the complete lifecycle of measured data in industrial IoT networks.
Early impact:
- Improved NMI calibration facilities for sensors with digital-only output
- Proof-of-principle “Smart Traceability” sensor communicating data quality in real-time
- Methods for the evaluation of uncertainty in machine learning for industrial IoT
- Selected industrial IoT test beds improved by a consistent metrology infrastructure