## Slide 1: Interferometry in harsh environments: from a dream to reality
Armando Albertazzi
Universidade Federal de Santa Catarina
Florianópolis, Brazil
Florianópolis, 24 - 27 November 2019

## Slide 2
In the beginning darkness was over the surface of the earth.
enlightened mind
give me a light ...
interior light
dar a luz
the light of your eyes
bright idea
clear person
“let there be light” Genesis
have a bright day
photosynthesis
light and health
photovoltaic energy
enlightenment (Buddhism)
age of enlightenment
enlightened life

## Slide 3
light to make art
light to measure
light to support life
light to heal
light for energy
light to connect
light to manufacture
light to produce food
light for fun

## Slide 4: Light properties
Velocity
Intensity
Trajectory
Color
Polarization
Wavelength
Frequency
Phase
All properties can carry information
at light speed.

## Slide 5: Light as an electromagnetic wave
λ
λ ≈ 0.0006 mm
λ can be used as a scale

## Slide 6: The meter definition from 1960 to 1983
The meter is the length equal to 1 650 763,73 wavelengths in vacuum of the radiation corresponding to the transition between the levels 2p10 and 5d5 of the krypton 86 atom.
λ ≈ 602 nm
Krypton 86 atom => orange light
1 650 763,73 λ

## Slide 7: A human hair
48 µm ≈ 80 λ

## Slide 8: Practical problem
Light propagates too fast to be “frozen”
  About 300 000 km/s in vacuum (7.5 turns on earth per second)
Light frequency is too fast to be detected
  Almost 1015 Hz = 1 000 000 000 000 000 Hz
Light wavelength is too small to be seen
  About 600 nm = 0.000 6 mm = 0.000 000 6 m
Light is immaterial and cannot be touched
How to use the wavelength of light to measure something?

## Slide 9: One answer: mixing waves
Interference

## Slide 10: Interferometer: single ray
Partial mirror
Mirror 1
Mirror 2
Detector
Light source

## Slide 11: Interferometer: single ray
Partial mirror
Mirror 1
Mirror 2
Detector
Light source
One cycle 

## Slide 12: Length – phase relationship
x
θ = phase angle
One cycle 

## Slide 13: Interferometer: multi rays
Partial mirror
Mirror 1
Part
Light source

## Slide 14: Interferometer: multi rays
Partial mirror
Mirror 1
Part
Light source

## Slide 15: Michelson Interferometer
surface to measure
laser
partial mirror
reference mirror
screen
interferogram
Interference fringes

## Slide 16: Michelson Interferometer
surface to measure
laser
partial mirror
reference mirror
screen
interferogram
Interference fringes

## Slide 17: Digital Fringe Processing
Not this fringe
This kind of fringe

## Slide 18: Fringes can be like contour lines

## Slide 19: Fringe processing by phase shifting

1

## Slide 20: Phase calculation using phase shifting
1

## Slide 21: Phase calculation using phase shifting
1

## Slide 22: Wrapped phase map
1

## Slide 23: Unwrapped phase map
1
A sequence of ≥ 3 images is required

## Slide 24: Surface topography
1
Using phase shifting techniques it is possible to reach resolution up to
in a very very stable environment.

## Slide 25: Length – phase relationship
x
E(x)
Using phase shifting techniques it is possible to reach resolution up to
in a very very stable environment.

## Slide 26: Fringe processing by carrier fringes
2

## Slide 27: Fringe processing by carrier fringes
2
Just one image is sufficient
2D Fourier transform

## Slide 28
Vibration isolation
Temperature control
Moisture control
Reduced air motion
Clean environment
Light control
Dust free atmosphere
Reduced electromagnetic fields
A lab in the paradize…

## Slide 29: It is not always possible to move the part to be measured to your lab
My LAB

## Slide 32
Is there a defect in this pipe coating?
Let’s find out with interferometry

## Slide 33
Wind
Sun light
Moisture
Vibration
Temperature

## Slide 34: Interferometers
Can measure
  Length
  Shape
  Deformation
  Stress
  Dilatation
  Pressure
  Rotation
  Translation
  Acceleration
  Refraction index
  Thickness
  Vibrations
  …

## Slide 35: Interferometry in harsh environments: from a dream to reality
Armando Albertazzi
Universidade Federal de Santa Catarina
Florianópolis, Brazil
Florianópolis, 24 - 27 November 2019

## Slide 36: A war approach
Knowing the Enemy
Defense Strategies
Victories Examples

## Slide 37
Knowing the Enemy
  Harsh Environments
  Disturbing Agents

## Slide 38: What is a harsh environment?
A quick definition:
  Anywhere not “indoors”.

## Slide 39: What is a harsh environment?
A more complete definition:
  Any condition of extremes relative to the human condition applies:
    Temperature
    Humidity
    Atmosphere (including pressure)
    Radiation
    Shock and vibration
    Erosive flows
    Corrosive media
  whether indoors or not.

## Slide 40: Harsh Environment Examples
Agricultural plants
Farms
Industrial plants
  Food
  Pharmaceutical
  Chemical
  Manufacturing
Explosion areas
Medical
Transport
Oceanography

## Slide 41
Knowing the Enemy
  Harsh Environments
  Disturbing Agents

## Slide 42: Disturbing agents in interferometry
Humidity
Skip details
Temperature
Atmosphere and pressure
Shock and vibration
Radiation and background illumination
Interferometry

## Slide 43
what affects
how affects
temperature
components
measurement performance
measurand
accelerated aging
malfunction
wavelength change
sensitivity change
signal drift
electronic noise
thermal deformation
material properties changes
surface modification

## Slide 44
what affects
how affects
humidity (moisture condensation)
components
measurement performance
measurand
degradation
malfunction
wavelength change
image blur
decorrelation
surface reflectivity changes
surface modification

## Slide 45
what affects
how affects
shock & vibration
misalignment
damage
fringe instability
image blur
resolution degradation
decorrelation
random errors increase
misalignment
modification
components
measurement performance
measurand

## Slide 46
what affects
how affects
radiation and background illumination
components
measurement performance
degradation
malfunction
signal to noise degradation
resolution degradation

## Slide 47
what affects
how affects
atmosphere and pressure
malfunction
damage
wavelength change
image blur
refraction index changes
decorrelation
thermal currents (convection)
surface contamination
surface modification
components
measurement performance
measurand

## Slide 48
Knowing the Enemy
  Harsh Environments
  Disturbing Agents
Defense Strategies
  Isolation
  Robustness
  Isolation and robustness

## Slide 49: 1 - Isolation

## Slide 50: Isolation Solutions
Atmosphere and pressure
  Encapsulation
  Positive pressure
Filter
Air blower

## Slide 52: Isolation Solutions
Temperature
  Isolation + cooling

## Slide 53: Isolation Solutions
Radiation
  Faraday cage (electromagnetic fields)
  Low reflectivity coating (ambient light)
  Black box
  Filters

## Slide 54: Isolation Solutions
Vibration isolation
  Passive dumping elements
  Active dumping elements

## Slide 55: Active Stabilization
General concept
Sensor
Optical system
Controller
Actuator
Disturbance
Disturbance cancelation

## Slide 56
Knowing the Enemy
  Harsh Environments
  Disturbing Agents
Defense Strategies
  Isolation
  Robustness
  Isolation and robustness

## Slide 57: 2 - Robustness

## Slide 58: Robust
Adjective
  1. strong in constitution; hardy; vigorous
  2. sturdily built (a robust shelter)
  3. requiring or suited to physical strength (a robust sport)

## Slide 59: Robust Mechanical Design
why
what
Robust construction
compact and lightweight
rigid
stiff clamping
no movable parts
easer to clamp and to reduce relative motions
keep stable positioning and alignment of optical parts
reduce relative motions: everything vibrates together
easer to keep stable relative positioning

## Slide 60: Stopping Relative Motions
Part to be measured
Interferometer

## Slide 61: Stopping Relative Motions
Part to be measured
Interferometer

## Slide 62: Robust Optical Principles
why
what
Robust principle
quasi-equal path
effective for tolerating mechanical vibrations and thermal currents of air

## Slide 63: Quasi-equal path interferometer
Laser
Beamsplitter
Observer
Fizeau interferometer
Critical region (small)

## Slide 64: Robust Optical Principles
why
what
Robust principle
quasi-equal path
one-shot
effective for tolerating mechanical vibrations and thermal currents of air
a short exposure time freezes instabilities and allows averaging out random error

## Slide 65: Freezing Motion – short expousure

## Slide 66: Robust Optical Principles
why
what
Robust principle
quasi-equal path
one-shot
achromatic
robust algorithm
effective for tolerating mechanical vibrations and thermal currents of air
a short exposure time freezes instabilities and allows averaging out random error
not sensitive to light wavelength instabilities
instability tolerating algorithm

## Slide 67: Robust Optical Principles
why
what
Robust principle
quasi-equal path
one-shot
achromatic
robust algorithm
effective for tolerating mechanical vibrations and thermal currents of air
a short exposure time freezes instabilities and allows averaging out random error
not sensitive to laser wavelength instabilities
instability tolerating algorithm

## Slide 68
Knowing the Enemy
  Harsh Environments
  Disturbing Agents
Defense Strategies
  Isolation
  Robustness
  Isolation and robustness

## Slide 69: 3 - Robustness and Isolation

## Slide 70
Knowing the Enemy
  Harsh Environments
  Disturbing Agents
Defense Strategies
  Isolation
  Robustness
  Isolation and robustness
Some Victories
  A few examples

## Slide 71: Robustness features
Robust principle
quasi-equal path
one-shot
achromatic
robust algorithm
Robust construction
compact and lightweight
rigid
stiff clamping
no movable parts




## Slide 72
PhaseCan
1

## Slide 73: PhaseCam
One shot
No sensitive to vibration neither air turbulences

## Slide 74: PhaseCam

## Slide 75: Large Optics Measurement

## Slide 76: Robustness features
Robust principle
quasi-equal path
one-shot
achromatic
robust algorithm
Robust construction
compact and lightweight
rigid
stiff clamping
no movable parts











2
2
4
6

## Slide 77
Reflection Digital Holographic Microscope
2

## Slide 78: Lyncée Reflection Digital Holographic Microscope R1001
nanometer resolution real-time single full-field acquisition (no scan) non-invasive 3D observations

## Slide 79: Application examples
Live cell measurement
SiO2 lines
Fresnel lens array
Corner cubes

## Slide 80: Robustness features
Robust principle
quasi-equal path
one-shot
achromatic
robust algorithm
Robust construction
compact and lightweight
rigid
stiff clamping
no movable parts











2
2
4
6

## Slide 81
Speckle interferometer with radial sensitivity
2

## Slide 82
Laser speckle

## Slide 83: Speckle interferometer
laser
Initial image
Final image
-
=
2
interference

## Slide 84: Double illumination speckle interferometer
laser
Double Illumination
camera
Better for
in-plane measurements

## Slide 85: Robust Optical Principle
stop


Does not depend on λ => achromatic
Diffraction grating
pitch = p
dx

## Slide 86: In-plane radial sensitivity
singular point

## Slide 88: Stiff clamping
Rare earth magnets
Sharp conical tips
Sharp conical tips
Hemispheres
Leveling
Leveling

## Slide 89: Stiff clamping
Both in-plane and out-of-plane clamping stiffness
Sharp conical tips
Sharp conical tips

## Slide 90
Conical tip 1
Magnet 1
Conical tip 2
Conical tip 3
Magnet 2
Hemesphere 4
Hemesphere 1
Hemesphere 2

## Slide 91: In-field applications

## Slide 92: DSPI for in-field residual stress measurement

## Slide 93: Robustness features


Robust principle
quasi-equal path
one-shot
achromatic
robust algorithm
Robust construction
compact and lightweight
rigid
stiff clamping
no movable parts









3
3
2
9

## Slide 94
Shearography interferometry
3

## Slide 95: Single image formation
P
P’
Part to be inspected
Image plane
Lens

## Slide 96: Double image formation
P1
Part to be inspected
Image plane
Lens
Wedge
P2
P’1
= P’2

## Slide 97
sensor
lens
laser
P1
P2
prism
Shearography
Good for
non-destructive tests
Quasi-equal path configuration

## Slide 98: Commercial shearography systems

## Slide 99
Shearography interferometer with diffraction grid
3.1

## Slide 100
25kg

## Slide 101
~ 3170 g
[Merluza – EAS]
SILICCOM
~ 474g [Lab]
~ 324 g
[Lab]
350g < mass < 550g
[GasBol – Houston]
~ 1000g
[P32]
~ 447g
~ 436 g
~ 642g
[Lab]
~ 290g
[TEFRAN]
Lighter
More flexible
More robust
Notes: Lente zoom + 2 anteriores = 11 protótipos

## Slide 102
sensor
lens
laser
P1
P2
Shearography using diffractive grating

## Slide 103: Shearography device with a diffractive grating

## Slide 104: Phase shifting devices
λ/8
PZT....
CCD
Λ/8
PZT
Classical Interferometer
Diffraction Grating
CCD
Λ >
>λ
More robust
More compact
PZT
FS Mirror
FS Mirror
Notes: The phase shift can be applied by a few different devices. Most of them use the piezoelectric actuator for this procedure as in the Michelson interferometer.
In the case of the Diffraction Grating System, the phase shifting is promoted by the lateral displacement of the grating, in the direction perpendicular to its grooves.
Thus, the phase shifting is relative to the grating period and not the wavelength of the laser as in the Michelson interferometer.
As the value of the grating period is usually much larger than the values ​​of a typical laser wavelengths, this system becoming more robust to external influences.
Additionally, the substitution of the Michelson interferometer for the diffraction grating promotes a more compact system.
In the case of the shearography systems that use diffraction gratings, the phase shifting is promoted by the lateral shifts of the grating, in the direction perpendicular to its grooves.
The lateral shift from the half-period of the grating (𝛬/2), in a binary phase grating, produces a phase shift of 2𝜋 rad.
In the configuration based on the modified Michelson interferometer, the phase shift of 2𝜋 rad is performed by translating half of the laser wavelength (𝜆/2) into one of its mirrors.
As the period of the diffraction grating is about 60 times greater than the wavelength of a green laser, for instance, the shearography system based on DOE becomes more robust to external influences when compared to the Michelson configuration.
Thus, vibrations that produce decorrelation of the speckle fields in the Michelson interferometer do not affect the diffraction grating system significantly.

## Slide 105: Opto-mechanical design
CCD Camera
Imaging lens
Piezoeletric
actuator
Diffraction grating
Notes: The solution proposed for this system is basically composed of four main elements: CCD camera, imaging lens, piezoelectric actuator and diffraction grating.
Differently of the typical arrangement found on literature, here the optical arrangement was elaborated in order to obtain the lowest possible volume for the system. Like this, the diffraction grating was placed in the space between the C-mount imaging lens and the camera sensor.

## Slide 106: Opto-mechanical design
Imaging lens
holder
Diffraction grating
holder
Camera
housing
PZT electrical
connector bracket
Notes: This is the final concept of the system
The design is divided into four modules, the imaging lens and the diffraction grating holders, the camera housing and the PZT connector bracket.
And here is an image of the actual system, which shows how compact the system is.

## Slide 108: Good clamping example

## Slide 109: Robustness features

Robust principle
quasi-equal path
one-shot
achromatic
robust algorithm
Robust construction
compact and lightweight
rigid
stiff clamping
no movable parts










4
2
2
10

## Slide 110
Shearography interferometer with multiple apertures
3.2

## Slide 111
sensor
lens
laser
P
P2
P1
P`
P`1 = P`2
measurand
bi-prism
P`1 = P`2
Shearography

## Slide 112
sensor
lens
measurand
Shearography with carrier fringes

## Slide 113
sensor
lens
measurand
Shearography with horizontal carrier fringes

## Slide 114
sensor
lens
measurand
Shearography with vertical carrier fringes

## Slide 115
sensor
lens
measurand
Shearography with inclined carrier fringes

## Slide 116
lens
measurand
sensor
Shearography with three simultaneous carrier fringes

## Slide 117
Object
W1
W2
W3
Image plane
Single point
Triple image
A1
A2
A3
Aperture locations define carrier fringes
Wedge angles define lateral displacement amounts and directions

## Slide 118
FFT
A2
A3
A1
A2
A3
A1
A2
A3
A1
A2
A3
A1
Combinações de aberturas
Deslocamentos laterais
Franjas portadoras
(a)
(b)
(c)
(d)

## Slide 119
Thermal loading example

## Slide 120: X Two images and 3 results
24 images and 3 results

## Slide 121: Robustness features

Robust principle
quasi-equal path
one-shot
achromatic
robust algorithm
Robust construction
compact and lightweight
rigid
stiff clamping
no movable parts










7
0
1
14

## Slide 122
Interferometric optical fiber sensors
4

## Slide 123: Bragg grating optical fiber sensor

## Slide 124: Bragg grating optical fiber sensor

## Slide 125: Fabri-Perot optical fiber pressure sensor

## Slide 127: Combined Bragg and Fabri-Perot optical fiber sensor (pressure and temperature)

## Slide 129: Robustness features

Robust principle
quasi-equal path
one-shot
achromatic
robust algorithm
Robust construction
compact and lightweight
rigid
stiff clamping
no movable parts










8
0
0
16

## Slide 130
Knowing the Enemy
  Harsh Environments
  Disturbing Agents
Defense Strategies
  Isolation
  Robustness
  Isolation and robustness
Conclusions

## Slide 131: Conclusions
Interferometers are extremely sensitive measurement systems.
Initially, they seemed restricted to laboratory use.
We dreamed about bringing them out of the lab.
The development of technology and the use of appropriate strategies made it possible.
The few cases we present here are a small samples of what is possible today.
There is so much more to come.
Be prepared.

## Slide 132
“It is during our darkest moments that we must focus to see the light.” – Aristotle
Thank you for your kind attention
Thanks to
And the Labmetro team at UFSC
132